|  | information | College of Europe Tirana, Representation Office, Cube no.15, Pyramid Complex in Boulevard ‘Deshmoret e Kombit’,Tirana |
| --- | --- | --- |

INVITATION TO TENDER FOR A PUBLIC CONTRACT OF LIMITED VALUE

Tender Title: Provision of supply batteries for Uninterrupted Power Supply (UPS) systems for the College of Europe, Tirana Campus.

Reference: 22042026_Purchase of  Power Supply (UPS)

Contracting Authority:
College of Europe 
NIPT: M41409452G

- Object of the public contract

This is a public contract of limited value based on Article 92 Law of 17 June 2016 concerning public contracts.

The public contract is for a supply of replacement batteries for Uninterrupted Power Supply (UPS) systems.

The purpose of this contract is the procurement and delivery of replacement battery cartridges compatible with existing APC UPS units, specifically:

- APC UPS SRT3000R

- APC UPS SRT1500XLI

- Schneider SRVS1K1

The batteries must:

- Be fully compatible with APC UPS systems.

- Meet the required voltage, capacity and form factor for each model.

- Be new, unused and not refurbished.

- Include all necessary connectors, cables, and housing (if applicable)

- Ensure safe operations and full compatibility with APC Smart-UPS systems.

The supplier must:

Clearly specify compatibility with APC models.

Indicate battery lifetime expectancy.

Confirm warranty period (minimum 12 months).

Due to the existing UPS infrastructure already installed and in operation at the College of Europe Tirana the batteries requested correspond to a specific APC and Schneider models required to ensure:

- Full technical compatibility with the installed equipment

- Safe and reliable operation

- Preservation of manufacturer specifications and performance

- Avoidance of operational risks or damage to the current critical infrastructure.

- Duration of the public contract/delivery period

The delivery of supplies must be performed within a period of 15 calendar days from the day following the date of conclusion of the public contract.

- Contact details of the contracting authority

You are invited to this public contract by:

College of Europe Tirana, Representation Office, Cube no.15, Pyramid Complex in Boulevard ‘Deshmoret e Kombit’,Tirana with Tax Identification Number (NIPT) M41409452G.

- Eligibility

Legal Status: The bidder must be legally registered and authorised to conduct business in Albania. Proof of legal registration should be available and may be requested during the evaluation process.

Exclusion Situations: The bidder must declare that it is not in any exclusion situations, such as being bankrupt, being convicted of a criminal offence affecting their professional conduct, or having guilty verdicts for fraud, corruption, involvement in a criminal organisation, or any other illegal activity detrimental to the EU's financial interests.

Compliance with National and EU Regulations: Bidders must comply with all applicable national and EU regulations concerning the provision of the services or supplies required.

- Evaluation of the tender

The Contracting Authority will determine the most economically advantageous tender taking into account the best value for money. The most economically advantageous regular tender is the one that scores the most points based on the following criteria:

1.

80 points: Price (total amount based on probable/exact quantities for the entire duration of the agreement)

Assessment:

The tender with the lowest price will be awarded the maximum points. The remaining tenderers will be awarded points according to the rule of 3: PRICE LOWEST SUBMISSION / PRICE SUBMISSION * 80 points.

2.	20 points: Technical compliance and delivery conditions

Deliver lead time (shorter delivery preferred)

Warranty period (minimum 12 months)

- Submission of the tender

The submission deadline is [04.05.2026] at [13:00].

You can submit your offer via: procurement.al@coleurope.eu.

Specify: “22042026_Purchase of  Power Supply (UPS)”  as the title of your e-mail.

The tender should include the following:

- The fixed unit price/fixed unit prices in letters and in figures (excluding VAT);

- Global price/global prices in letters and figures (excluding VAT);

- The total amount of the offer in letters and in figures (excluding VAT);

- The amount of VAT;

- The total amount of the offer in letters and figures (including VAT);

OPTIONAL:

The tender contains the following documents:

Warranty and after-sale support details.

Tenderers remain bound by their tender, possibly improved by the Contracting Authority, for a period of 30 calendar days from the deadline for receipt.

For further questions, please contact [name, position, address, phone number, e-mail].

- Price elements in the quotation

The supplier is deemed to have included in its prices all costs and charges except value added tax.

A detailed breakdown of the supplier's quotation is specified in the quotation.

In any case, the contracting authority assumes an all-in price.

- Payment

The invoice should be in EURO. Upon receiving the order from the COET contact person, the invoice should be issued. The order is paid after full and accepted execution of the order

Payment shall be made within a payment period of 30 days from the submission of the invoice with the following details:

- Process and invoice identifiers, including the reference of this public contract: 22042026_Purchase of  Power Supply (UPS)

- Invoice period;

- Information regarding the Contractor;

- Information regarding the Contracting Authority;

- Information on payee;

- [Information on the Contractor's tax representative;]

- Delivery details;

- Payment instructions;

- Allowance or charge information;

- Invoice line item information;

- Invoice totals;

- VAT breakdown.

- Appendix 1: Quotation form

Reference: “22042026_Purchase of  Power Supply (UPS) ”

(to be stated on all documents and in all communications)

1. Supplier Information:

Legal person

Company name:	Legal form:

Nationality:

Registered office (street and house number, municipality and postal code, country):

Identification number (NIPT):

Website:

Represented by the following signatories:

First name and surname:

Function or capacity:

Phone:

E-mail:

2.  Economic Proposal Grid

| No. | Description | Type | Unit | Unit price° excl. VAT | Quantity* | Total amount excluding VAT |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Battery APCRBC155 for UPS APC SRT1500XLI Rack Mounted (230V). Lead-acid battery. Include all connectors cables and no adoption, rewiring or modification should be required. | Supply of goods | Piece |  | 5 |  |
| 2 | Battery APCRBC152 for UPS APC SRT3000R Rack Mounted (230V). Lead-acid battery. Include all connectors cables and no adoption, rewiring or modification should be required. | Supply of goods | Piece |  | 2 |  |
| 3 | Battery Cartridge APCRBCV203 for Schnider Electric Easy UPS SRVS1K1, 1000VA, 230 V Lead-acid battery Include all connectors cables and no adoption, rewiring or modification should be required. | Supply of goods | Piece |  | 1 |  |
| 4 | Delivery of the goods | Delivery | N/A |  |  |  |
| Total amount without VAT |  |
| VAT amount |  |
| Total amount with VAT |  |

In case the tenderer only applies to one lot, please delete the other lot

°: unit prices are quoted to 2 decimal places

* PQ = probable quantity

4. Declaration:

- I/We hereby declare that all information provided is true and accurate, and that we meet all the eligibility criteria set out in this tender.

- I/We declare that we are not in any exclusion situation and are financially stable to execute the requirements of this contract.

Signature: .......................................................................................

First name and surname: .........................................................................................

Function:

.......................................................................................