|  | information | College of Europe Tirana, Representation Office, Cube no.15, Pyramid Complex in Boulevard ‘Deshmoret e Kombit’,Tirana |
| --- | --- | --- |

INVITATION TO TENDER FOR A PUBLIC CONTRACT OF LIMITED VALUE

Tender Title: Provision and Installation of Security and Alarm Systems for the College of Europe in Tirana.

Reference: 30062026_Security and Alarm Systems

Contracting Authority:
College of Europe 
NIPT: M41409452G

- Object of the public contract

This is an invitation to tender for public contract of limited value, launched in accordance with Article 92 of the Belgian Law of 17 June 2016 on public contracts.

The public contract concerns the Provision and Installation of Security and Alarm Systems for the College of Europe in Tirana.

The College of Europe in Tirana invites qualified and experienced contractors to submit tenders for the Provision and Installation of Security and Alarm Systems for its premises located in Tirana, Albania:

- Dormitory No. 14 ‘Arben Broci’ Street, Student City, Tirana

The purpose of this contract is to ensure the design, supply, installation and testing of a security and alarm system that guarantees the ensures the safety and protection of the College’s staff, students, visitors, and property in various emergency situations. These items play a critical role in responding effectively to incidents such as fires, break-ins, or any other unexpected threats. By having the proper equipment available and in good working conditions, we can help safeguard the wellbeing of all residents and maintain a secure environment within the facility.

The main objectives of this contract are to:

- Protect individuals on campus from unauthorized access, theft, or violent incidents.

- Enable rapid response to threats or medical emergencies through the emergency alarm systems

- Real-time monitoring and post-incident investigation through CCTV systems.

The services to be provided include, but are not limited to, the following:

- Supply, Installation, and Configuration of High-Definition Outdoor Surveillance Cameras

- Supply, Installation, and Configuration of Alarm Systems Integrated with Emergency Exits for Intrusion and Fire Detection

- Supply, Installation, and Commissioning of Magnetic Contact Sensors for Fire-Rated Doors

The detailed technical specifications are provided in Annex 1 and form an integral part of this contract.

Roles and Responsibilities:

- Contractor:

  - To deliver all services outlined in the scope in full compliance with national legislation and international standards.

  - Ensures timely delivery, installation support (if required), and warranty activation.

- Contracting Authority:

  - Provide access to premises, staff, and relevant documentation required for the security deliverables.

  - Ensure timely coordination for access and installation works.

- Duration of the public contract/delivery period

This is a one-time performance contract. All items must be delivered, installed, and tested within 30 days of receiving the purchase order.

- Contact details of the contracting authority

You are invited to this public contract by:

College of Europe Tirana, Representation Office, Cube no.15, Pyramid Complex in Boulevard ‘Deshmoret e Kombit’,Tirana with Tax Identification Number (NIPT) M41409452G.

- Eligibility criteria

Legal Status: The tenderer must be legally registered and authorised to conduct business in Albania. Proof of legal registration should be available and may be requested during the evaluation process.

Exclusion Situations: The tenderer must declare that it is not in any exclusion situations, such as being bankrupt, being convicted of a criminal offence affecting their professional conduct, or having guilty verdicts for fraud, corruption, involvement in a criminal organisation, or any other illegal activity detrimental to the EU's financial interests.

Compliance with National and EU Regulations: tenderer must comply with all applicable national and EU regulations concerning the provision of the services or supplies required.

- Evaluation of the tender

The Contracting Authority will determine the most economically advantageous tender, taking into account the best value for money.

1.	70 points: Price (total amount of Financial Offer at the Annex 1_Tender form based on probable quantities for the entire duration of the agreement)

The most economically advantageous regular tender is the one that scores the most points based on the following criteria:

•	Competitive pricing for each listed item and/or the total package.

•	Transparent and itemised fee structure.

Supporting document: Completed economic proposal grid (Annex 1).

Assessment:

The tenderer with the lowest price will be awarded the maximum points. The remaining tenderers will be awarded points according to the rule of 3: PRICE LOWEST SUBMISSION / PRICE SUBMISSION * 70 points.

2.	30 points: Qualitative criterion- Delivery capacity, Warranty and After-Sales

This criterion evaluates the tenderer’s ability to ensure the timely, reliable, and high-quality delivery of the requested items, as well as its readiness to provide on-demand, high-quality after-sales service. The evaluation will consider the following aspects:

- Product durability and warranty coverage:

- Tenderers offering durable, high-quality products from well-established brands with longer and more comprehensive warranty coverage will be rated more favourably.

- Delivery and after-sales service capability in Albania: Ability of the Tenderer to deliver and install the equipment within the required timeline on the College's premises, to respond flexibly, and the ability to respond in a timely manner for repairs/support for warranty claims or technical support requests.

Supporting documents: Product catalogues/technical data sheets, warranty statements, and references/ Proof of Similar Deliveries in Albania.

- Submission of the tender

The deadline for submission is 20 July 2026 at 17:00.

You can submit your offer via: procurement.al@coleurope.eu .

Specify: Offer_30062026_Security and Alarm Systems as the title of your e-mail.

The tender contains the following documents:

- Completed and signed Tender Form (Annex 1), including financial offer

- Description of the product specifications as foreseen at session 5.

Tenderers remain bound by their tender, possibly improved by the Contracting Authority, for 30 calendar days from the deadline for receipt.

For further questions, please contact at: procurement.al@coleurope.eu.

- Price elements in the quotation

The supplier/service provider is deemed to have included all costs and charges in its prices, except VAT.

A detailed breakdown of the supplier's/service provider's quotation is specified in Annex 1-Tender form.

In any case, the contracting authority assumes an all-in price.

- Payment

The invoice must be in EUR.

Upon receiving the order form the COET contact person, the invoice should be issued.

Payment shall be made within a payment period of 30 days from the submission of the invoice with the following details:

- Process and invoice identifiers, including the reference of this public contract: Offer_30062026_Security and Alarm Systems;

- Invoice period;

- Information regarding the Contractor;

- Information regarding the Contracting Authority;

- Information on payee;

- Delivery details;

- Payment instructions;

- Allowance or charge information;

- Invoice line item information;

- Invoice totals;

- VAT breakdown.

Invoices will also be sent via email to:  info.facilities.al@coleurope.eu.

The invoice counts as a claim.

Electronic invoicing is mandatory. Other forms of invoicing will not be accepted.

ANNEX 1: TENDER FORM

Reference: ‘Offer_30062026_Security and Alarm Systems’

(to be stated on all documents and in all communications)

1. Supplier Information:

Company name:	Legal form:

Nationality:

Registered office (street and house number, municipality and postal code, country):

Identification number (NIPT):

Website (optional):

Represented by the following signatories:

First name and surname:

Function or capacity:

Phone:

E-mail:

- 2. Economic Proposal Grid

| No. | Description | QTY | Unit price° excl. VAT (in EUR) | Specifications* | Total amount excluding VAT (in EUR) |
| --- | --- | --- | --- | --- | --- |
| 1 | Security Camera | 8 PQ |  | High quality imaging with 6 MP resolution Motorized varifocal lens for easy installation and monitoring Efficient H.265+ compression technology Clear imaging against strong backlight due to 120 dB true WDR technology Focus on human and vehicle targets classification based on deep learning Audio and alarm interface available Water and dust resistant (IP67) and vandal-resistant (IK10) Cameras must be compatible with security system requested |  |
| 2 | Electromagnetic Door Holders 24 V | 8PQ |  | Current consumption 63 mA Holding strength FMD-GT-60 686 N Holding strength FMD-GT-50/- SPACE 490 N Duty cycle 100% Dimensions (WxHxD) (mm) Magnet 80 x 80 x 485 Anchor plate 55 x 55 x 18 Weight (g) 1200 Mounting type Surface mounting on wall, floor and ceiling |  |
| 3 | Camera Box | 8PQ |  | Junction Box Aluminium Alloy Compatible with the model of camera requested |  |
| 4 | Cable | 200 meters |  | Full diameter CAT6 network cable Core diameter: 0.565mm Excellent transmission performance using solid copper Quality verified by Fluke test Guaranteed long PoE transmission distance Great PVC flame resistance. PVC conduit to protect the cables |  |
| 5 | Alarm System | 2PQ |  | Alarm System for emergency doors TCP/IP, Wi-Fi, and GPRS network, Long RF transmission 4520 mAh lithium backup battery Connects to 64 wireless zones/outputs Hik-Connect and Hik-ProConnect configuration Pushes alarm notification via messages or phone calls Supports LED indicator to indicates system status |  |
| 6 | Outdoor Siren | 2 |  | 868 MHz two-way wireless communication 3 years battery life span, AES-128 encryption Front and rear panel tamper-proof 3 kinds of alarm sounds: fire alarm, panic alarm, and intrusion alarm Buzzer Decibel: 110 dB Fully remote configurable through APP Multiple enrolment methods and easy installation design Frequency hopping against jamming for reliable transmission IP65 protective level |  |
| 7 | Magnetic Sensors | 8PQ |  | Magnetic contact combined with shock and tilt detection 2 wired inputs extension Fully remote configurable through APP Multiple enrolment methods and easy installation design Frequency hopping against jamming for reliable transmission. Sensors must be compatible with alarm system requested |  |
| 8 | Alarm Keypad | 2PQ |  | 868 MHz two-way wireless communication, AES-128 encryption Stay/away arming, disarming, alarm clearing for specified area or all areas LED indicates the programmed area One-Push fire alarm, panic alarm, and medical alarm. Silent/Audible alarm selectable. etc. Full touch key design with LED backlight Fully remote configurable through App Alarm Keypad needs to be compatible with Alarm system requested. |  |
| 9 | Remote Controller | 2PQ |  | Operation: stay/away arming and disarming Keyfob lock and unlock function Fully remote configurable through App Multiple enrolment method and easy installation design Easily replaceable battery with PCB protected Frequency hopping against jamming for reliable transmission Remote Controller needs to be compatible with Alarm system requested. |  |
| 10 | NVR 32 Channels | 1PQ |  | Intelligent analytics based on deep learning algorithm Up to 32-ch IP camera inputs Up to 256 Mbps incoming bandwidth Up to 2-ch@12 MP or 3-ch@8 MP or 6-ch@4 MP or 12- ch@1080p decoding capacity Up to 4 SATA interfaces for HDD connection (up to 10 TB capacity per HDD) Adopt Hikvision Acusense technology to minimize manual |  |
| 11 | Switch 16 Ports POE | 1 |  | Intelligent PoE Management When the power supply exceeds the limit, PoE ports intelligently manage the power supply, which extends the switch lifetime. Up to 300 m Long Range PoE Transmission The distance between IPCs and switch can reach maximum 300 meters. 4/8-Core Adaptive Power Supply with Less Power Loss 8-core power supply reduces the power loss on cables 6 KV Surge Protection to Improve Reliability in Harsh Environments. The built-in surge protection device protects the switch from sudden lightning surges in harsh environments. |  |
| 12 | HDD 10 TB | 1PQ |  | Engineered for advanced AI-enabled recorders, video analytics appliances, deep-learning servers, and cloud-based storage, including RAID and JBOD Designed with tarnish-resistant components for harsh environments and with additional robustness for multi-bay enclosures Supports up to 550TB/yr workload rate Up to 64 single-stream cameras Compatible with NVR |  |
| Total amount without VAT |  |
| VAT amount |  |
| Total amount with VAT |  |

Please note: PQ stands for “Probable Quantity” and refers to an estimated amount based on expected or anticipated requirements that will be ordered. It may also include optional items that may be required for integration with the existing system, as well as additional storage capacity for camera footage and panic buttons.

3. Declaration:

- I/We hereby declare that all information provided is true and accurate, and that we meet all the eligibility criteria set out in this tender.

- I/We declare that we are not in any exclusion situation and are financially stable to execute the requirements of this contract.

First name and surname: .........................................................................................

Signature: .......................................................................................

Function:

.......................................................................................

°: unit prices are quoted to 2 decimal places

* PQ = probable quantity